
[image: image2.png]



NA4 Nephelometer and Absorption Photometer Intercomparison and Calibration Workshop
11. – 22. March 2007
In cooperation with WMO-GAW, ACCENT, and EUCAARI
Time Schedule

Sunday         11.03.07

o
Day #0- unpacking…

Monday        12.03.07

o
Day #1 – setup instruments in lab, begin initial technical checks

o
Night #1 – filtered air measurement

Tuesday       13.03.07

o
Day #2 - continue technical checks

o
Night #2 -outside air measurement

Wednesday  14.03.07

o
Day #3 – Adjustment and repair of instruments

o
Night #3 – outside air measurement
o
EUSAAR data base meeting
Thursday     15.03.07

o
Day #4 – continue outside air measurement, with filtered air dilution to vary signal levels

o
Night #4 – outside air measurement with different instrument operating conditions
o
EUSAAR data base meeting

Friday          16.03.07

o 
Day #5 – continue outside air measurement, with filtered air dilution to vary signal levels
o
EUSAAR data base meeting
Saturday      17.03.07


o
Day #6 and Night #6 – continue outside air measurement
Sunday         18.03.07


o
Day #7 and Night #7– continue outside air measurement

Monday        19.03.07

o 
Day #8 – nephelometer – start measurements with respect to the truncation error

o 
Day #8 – absorption photometer – calibration experiment using aerosols with high and low single 


scattering albedos (soot, dust, etc.) 
Tuesday       20.03.07

o 
Day #9 – nephelometer –measurements with respect to the truncation error

o 
Day #9 – absorption photometer –calibration experiment using aerosols with high and low single 
           

scattering albedos (soot, dust, etc.)
Wednesday  21.03.07

o 
Day #10 – nephelometer –measurements with respect to the truncation error

o 
Day #10 – absorption photometer – calibration experiment using aerosols with high and low single         

scattering albedos (soot, dust, etc.)
Thursday     22.03.07

o Day #11 – packing instruments 







[image: image1]